Average water quality for Kampala during the period of August 2007

| Parameter | Monitoring points |  |  |  |  |  |  |  | National Standard for potable water |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Unit | Raw water | Treated Water | Water in Supply |  |  |  |  |  |
|  |  |  |  | Rubaga Division | Nakawa Division | Makindye Division | Kampala Central | Kawempe Division |  |
| Turbidity | NTU | 13.30 | 0.43 | 0.50 | 1.28 | 2.30 | 0.50 | 1.26 | 5.00 |
| Colour | PTU | 182 | 0 | 10 | 6 | 8 | 10 | 11 | 15 |
| Free chlorine | mg/l | - | 1.00 | 0.35 | 0.40 | 0.80 | 0.30 | 0.40 | 0.20 |
| E-Coli | CFU/100 ml | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Faecal -Strepstococi | CFU/ 100 ml | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |